TEMPORARY FACILITY/SITE NEEDS

Portsmouth City Health Department

Space available

The building which houses the Portsmouth City Health Department currently has 13,333 square feet. This includes one large conference room, one small conference room and three storage rooms that would not be necessarily needed at a temporary site.  Ideally the space needed would be 13,000 square feet and include desks/tables and chairs.  Additional considerations for needed services would be:

- Internet access; and

- Multiple landline telephone access.

Equipment

If damage to the health department includes loss of equipment, the following equipment will need to be available at the temporary site or requisitioned:

- Desktop computers/laptop computers

- Landline phones/cell phones

- MARCS Hand Held Radio

- Data storage devices including CDs and Memory Sticks/Flash Drives

- Printer

Permanent Health Department Facility

Consideration for Return to Health Department Facility

The building in which the health department is housed should be structurally sound, with all major repairs made, and the internal structures cleaned, including the furnishings prior to re-occupying the facility again.  If the facility is totally destroyed, the Leadership Team will be responsible for locating a facility/space that will adequately house the entire health department.

Building Size and Security

The current building, which houses the health department, has 13,333 square feet.  This includes one (1) large conference room, two (1) small conference rooms and three (3) storage rooms, in addition to staff spaces.  These might be re-configured space-wise, the space would need to be 13,000 square feet, as a minimum.

Other considerations would be:

- Security of building and staff;

- Ability to install a security/limited access system

- Ability to isolate staff from the public

- Client “waiting area” space;

- Separate restrooms for staff and clients; and

- Parking area either large enough for both clients and staff, or two (2) separate parking areas.

IT/Communications

The facility would need to have access to multiple landline ports inside the building, as a minimum, one (1) in each office and two(2) in the clerical space.  PCHD currently has phones that utilize four (4) landlines coming into and out of the health department.

PCHD would need the ability to place an antenna on the roof for access to the MARCS.

The new site would need to have secure, high speed internet access, finding a provider that can reliably provide a secure service.  Inside the building, a server with back-up capability would be required to be purchased if the server in the current building is not salvageable for use. The building would need to have the ability to have one, or more, internet drops in each office space

Equipment Space Considerations

Currently, there is a common work space that accommodates:

- copier/fax,

- color printer,

- plotter,

- cutting board,

- badge machine,

- community computer, and

Vaccine upright refrigerators X 2

Vaccine freezer X 1

Specimen/Medication refrigerators X 2

Computers and monitors for Leadership and staff use (30)

Vital Statistics dedicated printer X 1

Staff Considerations

Staff requirements and space to be considered:

Easy access into and throughout the building.  Accessibility for current and possible future staff;

- Single level, or elevators to other levels

- Automatic, or push-button doors

- 36”, or more doorways and 42”, or more hallways

Security of staff while in the building;

Enough office space for staff in each department;

  - Environmental Health space – currently one large space to accommodate 3 staff members and two vital statistics/clerical staff.

  - Public Health Nursing and clinic space – currently three (3) registered nurses, 3 clerical, and 2 nurse practitioners, four (4) exam rooms, and a lab room

  - Prevention Space – currently 3 office spaces for 6 employees

  - HIV Space-currently has one office space for 3 employees

Administrative/Leadership space – currently two (3) offices (Health Commissioner, Administrator/HR, and Fiscal Officer)

Emergency Response/Epidemiology space – currently one (1) coordinator in one office space

Break and lunch areas for staff.

# Comments

COOP-17b

COOP-17c

COOP-17a